## Slide 1: Troubleshooting Nuisance Alert Rules
“Click by Click” Guide
VBS FIRM VBS-FIRM@vanderbilt.edu
https://app-us.oceaview.com

## Slide 2: Troubleshooting Nuisance Alerts
Are you defrosting/is the freezer under repair?
Please view the “Defrosting Tips” Guide
2. Is your freezer consistently hitting a temperature parameter causing alerts (E.g., a -20 averaging -15)?
Please view “Modifying Alarm Thresholds and Parameters” Guide
3. Otherwise, it could be an equipment issue. Continue to next slide.

## Slide 3: Is there something wrong with the Freezer?
If you suspect it is the freezer malfunctioning, then please contact someone that can perform maintenance on your equipment.
Call plant operations or facilities management depending on the building that you are in.

## Slide 4: Is there something wrong with the Monitoring Equipment?
If you suspect that there is a problem with the monitoring equipment, then please put in a work request with Thermofisher/unitylabs.
For technical support, call 866-984-3766, or email to technicalsupport.led@thermofisher.com

## Slide 5: If none of these describe your situation:
Then feel free to reach out to FIRM: vbs-firm@vanderbilt.edu