## Slide 1
February 8, 2016

## Slide 2: Medical Need
Total medical costs and lost work and wages for people with diagnosed diabetes
Risk of death for adults with diabetes is
than for adults without diabetes
That’s about 1 out of every 11 people

## Slide 3: Medical Need – Problem Statement
1 in 4 diabetics develop foot ulcers over their lifetime
Wounds can reach chronic state
  Approx. 80,000 diabetic patients require lower-limb amputations per year
Currently NO ACTIVE healing process
Patient compliance is a large treatment-
management complication
http://www.drugs.com/health-guide/images/205064.jpg

## Slide 4: Current Standard of Care
Total-Contact Cast
Load-bearing
Antimicrobial absorbent dressing
Requires weekly maintenance
Cost per treatment : $8,000 - $17,000
Method of passive healing
http://www.stanfordchildrens.org/content-public/topic/images/06/126006.gif
http://www.podiatrytoday.com/files/imagecache/normal/FitzgeraldBlog1.png
http://diabeticfootandankle.net/index.php/dfa/article/viewFile/21177/html/99139

## Slide 5: Needs Assessment Summary
Patient
  Retain gold standard with no additional harm to patient
  Proven to reduce healing time and infection
  Safe
Provider
  Simple application
  Minimal preparation
  Simple maintenance
  Compatible with current standards
System
  Low cost
  Dependable
  Durable
  Willing insurance companies
Dosage Requirements:
Operate 10min daily for one week before battery change
Produce therapeutic light at 50mW/cm2
(Adamskaya et al.)

## Slide 6: Our Solution
Low-level light therapy (LLLT) delivery to wounds
Active healing method
Second-line therapy
  Eventual replacement of SoC
Maintains patient compliance
  Automated, preset
Safe
  Waterproof/heat resistant/shock resistant

## Slide 7: Mitigating Risks
Waterproof
  Prevent water spills and shallow submersion from damaging circuitry
Heat Resistant
  Effectively mitigate heat produced by circuitry
  Prevent burns and circuit meltdown
Shock Resistant
  Withstand impact forces
Little to no concern of light risks to patient

## Slide 8: Device Design - Module
New casing: Electrical box

## Slide 9: Device Design – Mold

## Slide 10: Device Design - Patch
4.5 cm
5.5 cm
1 cm
2.5 cm

## Slide 11: Recent Accomplishments
New patch design
  New 3D-printed mold (version 5)
  8-fiber optic silicone patch
  Curing method
    Oven heating – failed
    Heat lamp: 24-48hrs » ~1hr
Logo!
Material procurement
  Silicone, circuit components, fiber optics

## Slide 12: Recent Accomplishments
IRB Application and Protocol
  “Finalized”
  Waiting on
    CITI Training from physician(s)
    Dr. Hicks adjustments & details
  Updates
    2-4 week treatment (under physician’s discretion)
    2 additional physicians
Circuit design “finalized”
Cast testing
  Vanderbilt Orthopaedics Foot and Ankle Center
  Testing cast/device application process

## Slide 13
Please See Cast Testing I Video under the LumaSil Tab of our Website

## Slide 14: Current Tasks
Gathering information from Dr. Hicks
Battery source with sufficient current/voltage
Heat sinks vs. thermal pads
Design water-tight FO-FO attachment
Constructing prototype

## Slide 15: Ideas & Solutions
Lithium-ion battery
Water-tight FO-FO attachment

## Slide 16: Next Steps
IRB Application
  Submission within one week
  Expect 2-4 week turnover
Prototype construction
  Circuit/PCB ordering
  Casing
  FO-FO attachment
  Cast testing II
https://d1ybwah56txnv1.cloudfront.net/assets/v2/landing_pages/irb_assistance_0-3773a4e6fbcb5c3fd0f23f9e5134f0d4.jpg

## Slide 17: Current Timeline
February
March
April
IRB Submission: Second Week of February
*assuming corrections for initial return
Feasibility Study
Mid march to first week of April (latest acceptable)
Prototype Construction & Testing (cont’d)
IRB Approval: First Weeks of March