## Slide 1
February 22, 2016

## Slide 2: Medical Need
Total medical costs and lost work and wages for people with diagnosed diabetes
Risk of death for adults with diabetes is
than for adults without diabetes
That’s about 1 out of every 11 people

## Slide 3: Medical Need – Problem Statement
1 in 4 diabetics develop foot ulcers over their lifetime
Wounds can reach chronic state
  Approx. 80,000 diabetic patients require lower-limb amputations per year
Currently no active healing process
Patient compliance is a large treatment-
management complication
http://www.drugs.com/health-guide/images/205064.jpg

## Slide 4: Current Standard of Care
Total-Contact Cast
Load-bearing
Antimicrobial absorbent dressing
Requires weekly maintenance
Cost per treatment : $8,000 - $17,000
Method of passive healing
http://www.stanfordchildrens.org/content-public/topic/images/06/126006.gif
http://www.podiatrytoday.com/files/imagecache/normal/FitzgeraldBlog1.png
http://diabeticfootandankle.net/index.php/dfa/article/viewFile/21177/html/99139

## Slide 5: Needs Assessment Summary
Patient
  Retain gold standard with no additional harm to patient
  Proven to reduce healing time and infection
  Safe
Provider
  Simple application
  Minimal preparation
  Simple maintenance
  Compatible with current standards
System
  Low cost
  Dependable
  Durable
  Willing insurance companies
Dosage Requirements:
Operate 10min daily for one week before battery change
Produce therapeutic light at 50mW/cm2
(Adamskaya et al.)

## Slide 6: Our Solution
Low-level light therapy (LLLT) delivery to wounds
Active healing method
Second-line therapy
  Eventual replacement of SC
Maintains patient compliance
  Automated, preset
Safe
  Waterproof/heat resistant/shock resistant

## Slide 7: Mitigating Risks
Waterproof
  Prevent water spills and shallow submersion from damaging circuitry
Heat Resistant
  Effectively mitigate heat produced by circuitry
  Prevent burns and circuit meltdown
Shock Resistant
  Withstand impact forces
Little to no concern of light risks to patient

## Slide 8
Please see the 3D Mold Model under the LumaSil tab on our website

## Slide 9
Device Design – Silicone Halo
4.5 cm
5.5 cm
1 cm
2.5 cm
Fiber optics
Silicone Patch

## Slide 10: Device Design – Module

## Slide 11
Please refer to the 3D Model Video under the LumaSil tab on our website.

## Slide 12: Feasibility Study
Pre-study criteria
  2 weeks of standard of care
Two treatment groups
  Group 1 (n = 10): Standard of Care – total-contact cast
  Group 2 (n = 10): LumaSil device – total-contact cast + light therapy
Return for weekly visits
  Remove cast and clean wound site
  Replace device battery
  Wound assessment / measurements
Lasts 2-4 weeks

## Slide 13: Recent Accomplishments IRB Application and Protocol
Pre-Submission
  Added Dr. Hicks and MDRAP adjustments
  CITI Training from Dr. Hicks
  Dr. Hicks’s and Dr. Giorgio’s signature
Submitted
Post-Submission
  Under pre-review
  Contact IRB board regarding previous communication with MDRAP

## Slide 14: Recent Accomplishments
Everything below module finalized
Power study
Observed a 5.3% loss of illuminance
Intend to do more tests later
Condition | Illumination (lux)
Ambient | 24
Straight (0°) | 250
Bent 90° | 250
Bent Device° | 238

## Slide 15: Recent Accomplishments Circuit
Optimizing size of PCB
Circuit drawn

## Slide 16: Current Tasks
IRB
  Awaiting approval/corrections
Design
  Battery source with sufficient current/voltage
  Incorporating thermal pads
  Design water-tight FO attachment
  Constructing prototype

## Slide 17: Next Steps
IRB Application
  Expecting 2-4 week turnover
  Informational brochure
Prototype construction
  Circuit/PCB ordering
  Casing
  Cast testing II
https://d1ybwah56txnv1.cloudfront.net/assets/v2/landing_pages/irb_assistance_0-3773a4e6fbcb5c3fd0f23f9e5134f0d4.jpg

## Slide 18: Current Timeline
February
March
April
IRB Submission: Third week of February
*assuming corrections for initial return
Feasibility Study
Mid march to first week of April (latest acceptable)
Prototype Construction & Testing (cont’d)
IRB Approval: First weeks of March