## Title Sheet
EPA METHOD 1314
Liquid-Soild Partitioning as a Function of Liquid-Solid Ratio in a Column Test
LeachXSTM Lite Data Template - Version 4.2, September 2018
| PROJECT INFORMATION |  |  |  | WORKBOOK OVERVIEW
Project Code
Project Sponsor
Project Description
Material Code
Material Replicate
Full Name
Origin/Reference
Description
| Test Method Lab |  |  | Date Complete
| Contact |  |  | Phone
| Analytical Lab |  |  | Date Complete
| Contact |  |  | Phone
DATABASE INFORMATION
Name of Database
Material Code
| Material Classification |  | ê
| Material Subclass |  | ê
ê indicates a drop down menu with data validation.
SIGNATURES
| Data Compiler: |  |  | Date:
| Data Reviewer: |  |  | Date:
| Approved by: |  |  | Date:
| LeachXSTM Lite Upload: |  |  | Date:
EPA Method 1314 Data Template:
This Excel workbook can be used to document and archive labortatory data and analytical results of EPA Method 1314.
In addition, the date in a completed data template is formatted to be compatible with the data upload tool contained in LeachXS LiteTM. Data shown in bold red text in the "Title Sheet", "Eluate Collection" and "Analytical Data" tabs are required for a successful upload.
Note for Coal Combustion Residue (CCR) Materials:
If the material to be tested is a residual from combustion of coal, this workbook contains a hidden tab that can be used record additional source-specific information about the CCR material and how it was produced.
To unhide the "Material Classification" tab:
● Hover the cursor over the "Mositure Content" tab.
● Right click to open the context-sensitive menu and select "Unhide" from the menu list.
● Select "Material Classification" from the list of hidden tabs and click "OK".
● The "Material Classification" tab should be revealed.
To hide the "Material Classification" tab:
● Hover the cursor over the "Material Classification" tab.
● Right click to open the context-sensitive menu and select "Hide" from the menu list.
● The "Material Classification" tab should be hidden.
Note on C8: Project Code: Enter a brief code that defines the client or the project (e.g., "EPA-1").
Note on C12: Project Description: Enter a description of the goals and parameters of the overall project of which material characterization may be only a portion.
Note on C16: Material Code (required): Enter a brief code that defines the material for this project (e.g., "CFA" might describe a coal fly ash).
Note on C17: Material Replicate (required): Enter a letter (e.g., "A", "B", "C" …) representing the replicate of a material sample (e.g., the first sample in a time-series collection of samples might be labelled as replicate A).
Note on C37: Name of Database: If known, enter the name of the LeachXS Lite database to which this data will be uploaded.
Note on C39: Database Material Code: Enter a material code for the material in the LeachXS Lite database (if different than above).
Note on C41: Material Class (required): Select the most appropriate material class from the drop down menu or select "other" and enter a descriptor to the right.
Note on C43: Material Subclass (required): Select a material subclass from the drop down menu or select "other" and enter a descriptor to the right.

## Material Classification (hidden)
METHOD 1314 LeachXS Lite Data Template
COAL COMBUSTION RESIDUE CLASSIFICATION
Project Code
Material Code
Material Replicate
LeachXS Information
Name of Database
Material Code
Residue Description
CCR Category | Fly ash |  |  | ê | off
| Fly Ash Type |  | ê
| Residue Handling |  | ê | off
Citation |  |  |  | ê
Source Description
Coal Type |  |  |  | ê | off
Coal Region |  |  |  | ê | off
Facility |  |  |  | ê
Facility Description
Process Description
Particulate Capture |  |  |  | ê | off
Scrubber Type |  |  |  | ê | off
FGD Scrubber Additive |  |  |  | ê | off
NOx Control |  |  |  | ê | off
SO3 Control |  |  |  | ê | off
Hg Sorbent Injection |  |  |  | ê | off
ê indicates a drop down menu with data validation.
Material Classification Information:
This optional information is used in LeachXS Lite to sort the database for similar materials (e.g., class F coal fly ash generated from eastern bituminuous coal at a facility using ESP particulate capture and SCR NOx control). In future versions of this template, this page will be extended for other types of materials.

## Moisture Content
| METHOD 1314 LeachXSTM Lite Data Template | METHOD 1314 LeachXS Lite Data Template | [10 empty] | METHOD 1314 LeachXS Lite Data Template
MOISTURE CONTENT (WET BASIS) AND SOLIDS CONTENT INSTRUCTIONS |  |  | MOISTURE CONTENT (WET BASIS) AND SOLIDS CONTENT INSTRUCTIONS | [10 empty] | MOISTURE CONTENT (WET BASIS) AND SOLIDS CONTENT INSTRUCTIONS
[5 empty] | Code |  |  |  |  | Test conducted by: | [5 empty] | Code |  |  |  |  | Test conducted by:
|  |  |  | Project | [10 empty] | Project
|  |  |  | Material | [10 empty] | Material
|  |  |  | Replicate | A | [9 empty] | Replicate | A-rerun
[7 empty] | Dish-1 | Dish-2 | Dish-3 | Date | Time | [6 empty] | Dish-1 | Dish-2 | Dish-3 | Date | Time
[6 empty] | Empty Dish [g] | [10 empty] | Empty Dish [g]
[6 empty] | Dish + "Wet" Sample [g] | [10 empty] | Dish + Sample [g]
[6 empty] | Dish + "Dry" Sample [g] | [10 empty] | Dish + Dry Sample [g]
[6 empty] | Check (Dish + "Dry" Sample) [g] | [10 empty] | Check (Dish + Dry Sample) [g]
[6 empty] | Moisture Content (MC) [g-water/g] |  |  |  |  | Mean MC = | [g-water/g] |  |  |  |  | Moisture Content (MC) [g-water/g] |  |  |  |  | Mean MC = | [g-water/g]
[6 empty] | Solids Content (SC) [g-dry/g] |  |  |  |  | Mean SC = | [g-dry/g] |  |  |  |  | Solids Content (SC) [g-dry/g] |  |  |  |  | Mean SC = | [g-dry/g]
MOISTURE CONTENT (WET BASIS) AND SOLIDS CONTENT INSTRUCTIONS
[5 empty] | Code |  |  |  |  | Test conducted by:
Project
Material
|  |  |  | Replicate | B
[7 empty] | Dish-1 | Dish-2 | Dish-3 | Date | Time
Empty Dish [g]
Dish + Sample [g]
Dish + Dry Sample [g]
Check (Dish + Dry Sample) [g]
[6 empty] | Moisture Content (MC) [g-water/g] |  |  |  |  | Mean MC = | [g-water/g]
[6 empty] | Solids Content (SC) [g-dry/g] |  |  |  |  | Mean SC = | [g-dry/g]
MOISTURE CONTENT (WET BASIS) AND SOLIDS CONTENT INSTRUCTIONS
[5 empty] | Code |  |  |  |  | Test conducted by:
Project
Material
|  |  |  | Replicate | C
[7 empty] | Dish-1 | Dish-2 | Dish-3 | Date | Time
Empty Dish [g]
Dish + Sample [g]
Dish + Dry Sample [g]
Check (Dish + Dry Sample) [g]
[6 empty] | Moisture Content (MC) [g-water/g] |  |  |  |  | Mean MC = | [g-water/g]
[6 empty] | Solids Content (SC) [g-dry/g] |  |  |  |  | Mean SC = | [g-dry/g]
Step 5: Moisture and solids content are calculated automatically. Mean SC cell may be linked to the solids content cells in Pre-Test data and Test Data sheets. Alternately, copy the Mean SC cell value to these sheets.
Step 1: Enter the project, material and replicate codes as well as the name of the technician conducting the test.
Step 2: Measure and record the mass of an empty drying or suitable weighing dish as well as the dish containing 5-10 g the "wet" sample. Record data and time of measurement. Place dish and sample into over at 105±5 oC for a minimum of 24 hr.
Step 3: Remove dish and sample from oven and allow to cool to room temperature in a desiccator. Measure and record the mass of the dish and dry sample. Place the dish and sample back into the oven for at least another 24-hr period.
Step 4: Repeat cooling and measurement procedure as shown in Step 3 until constant mass of the dish and sample is accheived. Record this mass and the final date and time. Discard the sample.
ASSISTANCE: (unhide columns B-M)
Note on S10: Empty Dish: Enter the mass of an empty drying or suitable weighing dish.
Note on S11: Dish + "Wet" Sample: After adding 5-10 g of "wet" sample to the dish, enter the mass of the dish + sample. This may be repeated (Dish-1, Dish-2, Dish-3) to improve the calculation of mean values.
Note on S12: Dish + "Dry" Sample: After drying at 105 oC for at least 24 hr, enter the mass of the dish + sample.
Note on S13: Check (Dish + "Dry" Sample): Upon obtaining a constant mass (± 0.01 g), enter the final mass of the dish + sample. Moisture content and Solids Content will be calculated for each dish (below) and the mean of the values for Dish-1, Dish-2 and Dish-3 calculated for MC and SC (lower right).

## Eluate Collection
| METHOD 1314 LeachXSTM Lite Data Template | METHOD 1314 LeachXS Lite Data Template | [12 empty] | METHOD 1314 LeachXS Lite Data Template
PERCOLATION TEST INSTRUCTIONS |  |  | METHOD 1314 LAB DATA
[10 empty] | Bed Parameters |  | Flow Rates
[6 empty] | Code |  |  | Particle Size (85 wt% less than) |  | mm | Vol Rate |  | mL/day
[5 empty] | Project |  |  |  | Bed Height |  | cm | L/S Rate |  | L/S per day
[5 empty] | Material |  |  |  | Bed Sample Mass |  | g | Res. Time |  | day
[5 empty] | Replicate | A |  |  | Solids Content |  | g-dry/g
[9 empty] | Water in Bed (sat'd) |  | g | Column Dimensions
[6 empty] | Test Conditions |  |  | Bed Volume |  | cm3 | Diameter |  | cm
[5 empty] | Eluant Composition |  |  | ê | Bed Mass (dry) |  | g-dry | Height |  | cm
[5 empty] | Temperature |  | °C |  | Pore Volume |  | cm3 | Volume |  | cm3
[9 empty] | Bed Porosity |  | cm3/cm3
[7 empty] | Test Started on | [8 empty] | Flow Rates Bounds (Residence Time) |  |  | Calcium Chloride Eluant Calculator
|  |  |  | Fraction | Sum L/S | Fraction | Day of | Scheduled | Actual | Bottle | Eluate | Eluate | Eluate | Eluate |  | Res. Time | 1.2 | day |  |  | Target Concentration | 1 | mM CaCl2
|  |  |  | Label | (SL/S) | Volume | Week | Collection | Collection | Tare | & Bottle | pH | Cond. | ORP |  | L/S Rate |  | L/S per day | Vol DI | MW | Mass | Conc | Conc
[5 empty] | [mL/g-dry] | [mL] |  | Date/Time | Date/Time | [g] | [g] | [-] | [mS/cm] | [mV] |  | Vol Rate |  | mL/d | Water | CaCl2·2H2O | CaCl2 | Ca+2 | Cl-
|  |  |  | - | 0 | 10 | [9 empty] | Res. Time | 0.8 | day | [L] | [g/mol] | [g] | [mg/L} | [mg/L]
|  |  |  | T01 | 0.2 | [10 empty] | L/S Rate |  | L/S per day | 1 | 147.166 | 0.14717 | 40.08 | 71.086
|  |  |  | T02 | 0.5 | [10 empty] | Vol Rate |  | mL/d
|  |  |  | T03 | 1
|  |  |  | T04 | 1.5
|  |  |  | T05 | 2
|  |  |  | T06 | 4.5
|  |  |  | T07 | 5
|  |  |  | T08 | 9.5
|  |  |  | T09 | 10
|  |  |  | Fraction | Mass | Calc'd | Interval | [6 empty] | Eluate
|  |  |  | Label | Collected | SL/S | Flow Rate | [6 empty] | Collected
[5 empty] | [g] | [mL/g-dry] | [mL/day] | Notes | [5 empty] | By
|  |  |  | - |  |  | - | First 10 mL sample - compare pH to T01 pH and combine eluants if ± 0.5
T01
T02
T03
T04
T05
T06
T07
T08
T09
Average Flow Rate [mL/day]
ê indicates drop down menu with data validation
METHOD 1314 LeachXS Lite Data Template
METHOD 1314 LAB DATA
[10 empty] | Bed Parameters |  | Flow Rates
[6 empty] | Code |  |  | Particle Size (85 wt% less than) |  | mm | Vol Rate |  | mL/day
[5 empty] | Project |  |  |  | Bed Height |  | cm | L/S Rate |  | L/S per day
[5 empty] | Material |  |  |  | Bed Sample Mass |  | g | Res. Time |  | day
[5 empty] | Replicate | B |  |  | Solids Content |  | g-dry/g
[9 empty] | Water in Bed (sat'd) |  | g | Column Dimensions
[6 empty] | Test Conditions |  |  | Bed Volume |  | cm3 | Diameter |  | cm
[5 empty] | Eluant Composition |  |  | ê | Bed Mass (dry) |  | g-dry | Height |  | cm
[5 empty] | Temperature |  | °C |  | Pore Volume |  | cm3 | Volume |  | cm3
[9 empty] | Bed Porosity |  | cm3/cm3
Test Started on
|  |  |  | Fraction | Sum L/S | Fraction | Day of | Scheduled | Actual | Bottle | Eluate | Eluate | Eluate | Eluate
|  |  |  | Label | (SL/S) | Volume | Week | Collection | Collection | Tare | & Bottle | pH | Cond. | ORP
[5 empty] | [mL/g-dry] | [mL] |  | Date/Time | Date/Time | [g] | [g] | [-] | [mS/cm] | [mV]
|  |  |  | - | 0 | 10
|  |  |  | T01 | 0.2
|  |  |  | T02 | 0.5
|  |  |  | T03 | 1
|  |  |  | T04 | 1.5
|  |  |  | T05 | 2
|  |  |  | T06 | 4.5
|  |  |  | T07 | 5
|  |  |  | T08 | 9.5
|  |  |  | T09 | 10
|  |  |  | Fraction | Mass | Calc'd | Interval | [6 empty] | Eluate
|  |  |  | Label | Collected | SL/S | Flow Rate | [6 empty] | Collected
[5 empty] | [g] | [mL/g-dry] | [mL/d] | Notes | [5 empty] | By
|  |  |  | - |  |  | - | First 10 mL sample - compare pH to T01 pH and combine eluants if ± 0.5
T01
T02
T03
T04
T05
T06
T07
T08
T09
Average Flow Rate [mL/day]
ê indicates drop down menu with data validation
METHOD 1314 LeachXS Lite Data Template
METHOD 1314 LAB DATA
[10 empty] | Bed Parameters |  | Flow Rates
[6 empty] | Code |  |  | Particle Size (85 wt% less than) |  | mm | Vol Rate |  | mL/day
[5 empty] | Project |  |  |  | Bed Height |  | cm | L/S Rate |  | L/S per day
[5 empty] | Material |  |  |  | Bed Sample Mass |  | g | Res. Time |  | day
[5 empty] | Replicate | C |  |  | Solids Content |  | g-dry/g
[9 empty] | Water in Bed (sat'd) |  | g | Column Dimensions
[6 empty] | Test Conditions |  |  | Bed Volume |  | cm3 | Diameter |  | cm
[5 empty] | Eluant Composition |  |  | ê | Bed Mass (dry) |  | g-dry | Height |  | cm
[5 empty] | Temperature |  | °C |  | Pore Volume |  | cm3 | Volume |  | cm3
[9 empty] | Bed Porosity |  | cm3/cm3
Test Started on
|  |  |  | Fraction | Sum L/S | Fraction | Day of | Scheduled | Actual | Bottle | Eluate | Eluate | Eluate | Eluate
|  |  |  | Label | (SL/S) | Volume | Week | Collection | Collection | Tare | & Bottle | pH | Cond. | ORP
[5 empty] | [mL/g-dry] | [mL] |  | Date/Time | Date/Time | [g] | [g] | [-] | [mS/cm] | [mV]
|  |  |  | - | 0 | 10
|  |  |  | T01 | 0.2
|  |  |  | T02 | 0.5
|  |  |  | T03 | 1
|  |  |  | T04 | 1.5
|  |  |  | T05 | 2
|  |  |  | T06 | 4.5
|  |  |  | T07 | 5
|  |  |  | T08 | 9.5
|  |  |  | T09 | 10
|  |  |  | Fraction | Mass | Calc'd | Interval | [6 empty] | Eluate
|  |  |  | Label | Collected | SL/S | Flowrate | [6 empty] | Collected
[5 empty] | [g] | [mL/g-dry] | [mL/d] | Notes | [5 empty] | By
|  |  |  | - |  |  | - | First 10 mL sample - compare pH to T01 pH and combine eluants if ± 0.5
T01
T02
T03
T04
T05
T06
T07
T08
T09
Average Flow Rate [mL/day]
ê indicates drop down menu with data validation
Notes on Flow Rates:
1) Ideally, flow rate should be calculated to achieve a residence time of approximetly 1 day. This residence time is based on the pore volume estimated from the mass difference between the bed of the "as packed" material and the water-saturated material.
2) Since this residence time value is based on an estimated value, a flow rate based on an L/S per day value is more rigorous. The flow rate specification is 0.75±0.25 L/S per day; however, if the flow rate can be adjusted to provide a daily L/S rate of 0.75, the schedule of collection time becomes more practical (i.e., multiples of the start time). Interval L/S rate is based on the amount of dry solid mass added to the column.
Notes on Eluant Composition:
Calcium chloride solutions are used as eluents when Method 1314 is performed on clayey or organic materials. The ionic strenght of the solution keeps clay layers from deflocculating and minimizes the dissolution of organic matter. Method 1314 specifies 0.001 M (1 mM) CaCl2 solutions; however, the tool below calculates the mass of CaCl2·2H2O (calcium chloride dihydrate) required to create eluant at a target concentration. The tool also calculates the analytical concentrations of Ca+2 and Cl- anticipated to be in eluant blanks for QA/QC purposes.
Step 1: Enter the project, material and replicate codes as well as the technician name. Prepare test samples and enter the sample type and sample properties and geometry. Enter eluate composition from the drop-down list and concentration value if required.
Step 2: When the collumn has equilibriated, start the pump. Enter the date/ time at the beginning of eluate collection. This date/time is the start of the percolation test.
Note: Once a test start data and time is entered, the Scheduled Collection field will be automatically populated. This field will automatically update after the mass of each collected eluate is calculated. The Day of Week field will show weekdays and weekend days for the projected collection schedule.
Step 3: Measure and record the tare mass of the next eluant collection bottle with a cap. This value will be used to determine the mass of eluant collected.
Step 4: Monitor the amount of eluate to verify that the Scheduled Collection field is accurate. When the appropriate amount of eluate has been collected, enter the time when the eluate collection is complete.
Step 5: Measure and record the mass of the bottle + collected eluate fraction. Remove an eluate aliquot of sufficient volume (~ 5 mL) for measuring pH, electrical conductivity as well as redox potential or ORP (optional). Measure and record these eluate properties.
Step 6: Monitor the Calc'd SL/S collected and the Interval Flow Rate. The time for the next eluate collection should be automatically updated in the Scheduled Collection field. Adjusted pump flow rate as needed to maintain a constant flow rate or to adjust the schedule.
Step 7: Enter the initials of the technician conducting the eluate collection and record any pertinent notes regarding the eluate exchange procedure.
Note: The column should be saturated with eluant and allowed to equilibriate for at least 18 hours prior to starting the test.
ASSISTANCE: (unhide columns B-M)

## Analytical Data
METHOD 1314 LeachXS Lite Data Template | [19 empty] | METHOD 1313 LeachXS Lite Data Template | [16 empty] | METHOD 1313 LeachXS Lite Data Template | [16 empty] | METHOD 1313 LeachXS Lite Data Template
| METHOD 1314 ANALYTICAL DATA | [7 empty] | ê indicates drop down menu with data validation |  |  |  |  | ELUATE COMPOSITION
[6 empty] | Rep A | Rep A | Rep A | [5 empty] | Al | Sb | As | Ba | Be | B | Cd | Ca | Cs | Cr | Co | Cu | Fe | Pb | Li | Mg | Mn | Mo | Ni | P | K | Se | Si | Ag | Na | Sr | S | Tl | Sn | Ti | U | V | Zn | Hg | F | Cl | NO2 | Br | NO3 | SO4 | PO4 | DIC | DOC | NH3
|  | Project ID |  |  | Bed Diameter |  |  |  | cm |  |  |  | Method Detection Limit (MDL)
|  | Material ID |  |  | Bed Height |  |  |  | cm |  |  |  | Reporting Limit (RL)
|  | Test ID | 1314 |  | Volume |  |  |  | cm3 |  |  |  | Type of RL ê
[5 empty] | Eluant | [7 empty] | Analysis Method ê
Analysis Date
[5 empty] | Analytical Lab Name | [8 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 |  | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44
[13 empty] | Eluate Composition | 1: Metals and Metalloids; 12: Metals and Metalloids; 23: Metals and Metalloids | [11 empty] | Anions and Carbon
|  |  |  | "As Tested" | Moisture | Flow | Starting | S Eluate | S Eluate | SLS Ratio | Eluate | Eluate | Eluate | Aluminum | Antimony | Arsenic | Barium | Beryllium | Boron | Cadmium | Calcium | Cesium | Chromium | Cobalt | Copper | Iron | Lead | Lithium | Magnesium | Manganese | Molybdenum | Nickel | Phosphorus | Potassium | Selenium | Silicon | Silver | Sodium | Strontium | Sulfur | Thallium | Tin | Titanium | Uranium | Vanadium | Zinc | Mercury | Fluoride | Chloride | Nitrite | Bromide | Nitrate | Sulfate | Phosphate | Inorganic C | Organic C | Ammonia
|  |  | Fraction | Solid | Content | Rate | Temp. | @ Begin | @ End | @ End | pH | Cond. | ORP | Al | Sb | As | Ba | Be | B | Cd | Ca | Cs | Cr | Co | Cu | Fe | Pb | Li | Mg | Mn | Mo | Ni | P | K | Se | Si | Ag | Na | Sr | S | Tl | Sn | Ti | U | V | Zn | Hg | F | Cl | NO2 | Br | NO3 | SO4 | PO4 | DIC | DOC | NH3
|  | Sample ID | # | g | gH2O/g | mL/h | °C | mL | mL | mL/g-dry | s.u. | mS/cm | mV | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L
|  |  | QA/QC | - | - | - |  | - | - | - | - | - | bar: ORP
|  |  | QA/QC | - | - | - |  | - | - | - | - | - | bar: ORP
|  |  | QA/QC | - | - | - |  | - | - | - | - | - | bar: ORP
Note on O5: Method Detection Limit: Enter a MDL value as defined in Note 1.
Note on O6: Method Detection Limit: Enter a MDL value as defined in Note 1.
Note on O7: Type of RL: Select a type of RL from the drop-down list.
Note on O8: Analytic Method: Select an Analytical Method from the drop down menu.
Note on O9: Analysis Date: Enter the date that the chemical analysis was performed or completed. Value will automatically convert to "dd-mmm-yy" format.
Note on G11: Analytical Lab Name: Enter the name of the lab perfoming the chemical analysis.

## Composite Samples
| METHOD 1314 LeachXSTM Lite Data Template | [5 empty] | METHOD 1314 LeachXS Lite Data Template | [8 empty] | METHOD 1314 LeachXS Lite Data Template
Method 1314 Table 1
ANALYTICAL SAMPLE COMPOSITING |  | COMPOSITE SAMPLE CALCULATOR
Schedule of Fraction Collections and Analytical Samples
[6 empty] | Analytical Option | Complete Characterization
[13 empty] | Analytical Option |  | A |  | B | C | D | E
|  |  | Fraction | Collected | Analytical | Required Volume for Analytical Sample |  |  |  |  | Target | Composite | Fraction | ΣLS Ratio | Complete Characterization |  | Limited Analysis |  | Index Testing
|  |  | Label | Volume | Sample | Hg | IC | Carbon | ICP | Total | Volume | Fraction | Label | [mL/g-dry] | Conc. | ΣRel | Conc. | ΣRel | Conc. | ΣRel
|  |  |  | [mL] | Label | [mL] | [mL] | [mL] | [mL] | [mL] | [mL] | [mL] | T01 | 0.2 ±0.1 | a | a | a | a | a | a
|  |  | T01 |  | T01 | 43.5 | 10 | 25 | 10 | 88.5 | 90 |  | T02 | 0.5 ±0.1 | a | a | a | a |  | ↓
|  |  | T02 |  | T02 | 43.5 | 25 | 25 | 25 | 118.5 | 120 |  | T03 | 1.0 ±0.2 | a | a | a | a |  | ↓
|  |  | T03 |  | T03 | 87 | 25 | 25 | 50 | 187 | 200 |  | T04 | 1.5 ±0.2 | a | a |  | ↓ |  | ↓
|  |  | T04 |  | T04 | 87 | 25 | 25 | 50 | 187 | 200 |  | T05 | 2.0 ±0.2 | a | a | a | a T05c | a | a T05c
|  |  | T05 |  | T05 | 87 | 25 | 25 | 50 | 187 | 200 |  | T06 | 4.5 ±0.2 | a | a |  | ↓ |  | ↓
|  |  | T06 |  | T06 | 87 | 25 | 25 | 100 | 237 | 300 |  | T07 | 5.0 ±0.2 | a | a | a | a T07c |  | ↓
|  |  | T07 |  | T07 | 87 | 25 | 25 | 50 | 187 | 200 |  | T08 | 9.5 ±0.2 | a | a |  | ↓ |  | ↓
|  |  | T08 |  | T08 | 87 | 25 | 25 | 100 | 237 | 300 |  | T09 | 10.0 ±0.2 | a | a | a | a T09c | a | a T09c
|  |  | T09 |  | T09 | 87 | 25 | 25 | 50 | 187 | 200
NOTE: SRel = cumulative release.
a = collect eluate fraction (or pool of fractions) as analytical sample.
↓ = composite eluate fraction with next fraction to create analytical sample.
Overview: When Draft Method 1314 is conducted for complete characterization, no compositing of samples is required. However, when the method is used to evaluate release using limited analysis or index testing, collected column fractions need to be composited to provide samples for chemical analysis. On this page, volume averaging is used to determine the volumes of collected fractions required to create compositing analytical samples of a target volume.
Step 4: The volumes of each collected fraction volume needed to create composited analytical samples are calculated and grouped by color.
Step 3: Select a target volume for creating an analytical sample from the collected column fractions. If the sum of these data are greater than the collected volume of eluate, the "Target Volume" field will be highlighted indicating that the value requires adjustment.
Step 2: Enter volumes of eluate needed for each analysis train.
Step 1: Determine the analytical option from Table 1 of Draft Method 1314. Select the corresponding option from the drop down menu.
ASSISTANCE: (unhide columns B-M)

## Lists (hidden)
WARNING: These lists are pre-defined for drop-down menus within the workbook. |  |  | WARNING: These lists are pre-defined for drop-down menus within the workbook. |  |  |  | COAL COMBUSTION RESIDUE CLASSIFICATION |  | COAL COMBUSTION RESIDUE CLASSIFICATION |  | COAL COMBUSTION RESIDUE CLASSIFICATION
Altering these lists may render the drop-down menus invalid. |  |  | Altering these lists may render the drop-down menus invalid.
| MATERIAL LISTS |  |  | METHOD 1313 LISTS |  | RESIDUE |  | PROCESS |  | COAL SOURCE
| Material Classifications (Material_Class) |  |  | Acid Types (Acid_Type) |  | CCR Categories (based on process origin) |  | Hg Sorbent Injection |  | Coal Types
| Name | Description |  | Name | Description | Name | Description | Name | Description | Name | Description
| Air |  |  | HNO3 | Nitric Acid | Coal milling rejects |  | None |  | Bituminous
| Cement & Concrete |  |  | <unspecified> |  | Coal milling rejects w/ pyrite |  | Powdered activated carbon |  | Bituminous (High S)
| Coal Combustion |  |  |  |  | Bottom ash |  | Brominated activated carbon |  | Bituminous (Low S)
| Construction |  |  | Base Types (Base_Type) |  | Fly ash |  | Other |  | Bituminous (Med S)
| Fuel |  |  | Name | Description | Fly ash - DSI |  |  |  | Lignite
| Industrial Waste |  |  | KOH | Potassium Hydroxide | Fly ash - FSI |  | NOx Control |  | PRB/Lignite blend
| Landfill |  |  | NaOH | Sodium Hydroxide | Scrubber sludge |  | Name | Description | PRB/Low S bit (85:15)
| Mining |  |  | <unspecified> |  | FGD Gypsum, unwashed |  | None |  | Sub-bituminous
| Mineral Processing |  |  |  |  | FGD Gypsum, washed |  | SCR |  | Other
| Municipal Waste |  |  |  |  | Fixated stabilized sludge |  | SCR-BP
| Nuclear Waste Management |  |  | METHOD 1314 LISTS |  | Fixated stabilized sludge with lime |  | SNCR |  | Regions
| Soil & Sediment |  |  | Eluant Composition (Eluant_Comp) |  | Other |  | SNCR-BP |  | Name | Description
| Soil Amendment |  |  | Name | Description |  |  | SCR & SNCR |  | Eastern Bituminous
| User Class | addtitional entry for user-defined class (replace "User Class" text) |  | DI water | Reagent water (e.g., ASTM Type I) | Fly Ash Class |  | SOFA |  | Gulf Coast
| Other |  |  | CaCl2 (1mM) | Dilution solution of calcium choride | Name | Description | Rich Reagent Inj. |  | Illinois Basin
|  |  |  | <unspecified> |  | Class C |  | Other |  | Powder River Basin
| Material Subclasses (named ranges according to Material_Class list) |  |  |  |  | Class F |  |  |  | Southern Appalachian
| Name | Description |  | Analytical Schemes for Compositing (Composite_Scheme) |  | Not Applicable | not applicable | Scrubber Types |  | Other
| Air |  |  | Name | Description |  |  | Name | Description
| Atmospheric dust | atmospheric dust samples |  | Complete Characterization | analysis of all extracts at all L/S targets | Residue Handling |  | None |  | Facilities
| Other | other air materials |  | Limited Analysis | analysis of limited extracts at key L/S targets | Name | Description | Wet - Inhibited oxidation |  | Name | Description
|  |  |  | Index Testing | simplified analytical sampling at a few L/S targets | Wet |  | Wet - Natural oxidation |  | Brayton Point
| Cement_Concrete |  |  |  |  | Dry |  | Wet - Forced oxidation |  | Facility A
| Concrete |  |  |  |  | Other |  | Spray dryer |  | Facility Aa
| Controlled Low-Strength Material |  |  | METHOD 1315 LISTS |  |  |  | Other |  | Facility B
| Grout | cement + water + fine aggregate |  | Mass Transport Sample Types (Sample_Type) |  | Citation |  |  |  | Facility Ba
| Mortar | cement + water + fine aggregate |  | Name | Description | Name | Description | FGD Scrubber Additives |  | Facility C
| Paste | cement + water samples |  | Granular |  | EPA-600/R-06/008 | EPA Report 1 | Name | Description | Facility Ca
| Other | other cementitious material |  | Monolith |  | EPA-600/R-08/077 | EPA Report 2 | None |  | Facility Da
[6 empty] | EPA-600/R-08/151 | EPA Report 3 | Lime |  | Facility E
| Coal_Combustion |  |  | Sample Geometries (Sample_Geometry) |  | Report 4 |  | Limestone |  | Facility F
| Blended Material |  |  | Name | Description |  |  | Magnesium lime |  | Facility G
| Bottom Ash | coal combustion bottom ash |  | Cylinder |  |  |  | Sodium carbonate |  | Facility H
| FGD Filter Cake | FGD dryer filter cake |  | Block |  |  |  | Sodium bicarbonate |  | Facility K
| FGD Gypsum (unwashed) | FGD gypsum (unwashed) | [5 empty] | Other |  | Facility L
| FGD Gypsum (washed) | FGD gypsum (washed) |  | Face Exposure Scenarios (Sample_Faces) | [5 empty] | Facility M
| Fly Ash | coal combustion fly ash |  | Name | Description |  |  | SO3 Control |  | Facility N
| Fixated Scrubber Sludge | fixated scrubber sludge |  | axial |  |  |  | Name | Description | Facility O
| Fixated Scrubber Sludge w/ Lime | fixated scrubber sludge w/lime |  | 2-axial |  |  |  | None |  | Facility P
| Milling Rejects | coal milling rejects |  | radial |  |  |  | Furnace Sorbent inj. - Troana |  | Facility Q
| Scrubber Sludge | wet scrubber sludge |  | all |  |  |  | Furnace Sorbent inj. - CaCO3 |  | Facility R
| Spray Dryer Residue w/ Fly Ash | [6 empty] | Furnace Sorbent inj. - MgO |  | Facility S
| Other | [6 empty] | Duct Sorbent inj. - Troana |  | Facility T
|  |  |  | GENERIC BATCH LISTS |  |  |  | Duct Sorbent inj. - CaCO3 |  | Facility U
| Construction |  |  | Batch Extraction Tests (Batch_Test) |  |  |  | Duct Sorbent inj. - MgO |  | Facility V
| Aggregate | gravel, stone, sand, etc. |  | Name | Description |  |  | Other |  | Facility W
| Artificial Aggregate | waste derived aggregate |  | <unspecified> | [5 empty] | Facility X
| Asphalt | asphalt pavement |  | EPA SPLP | EPA Method 1312 Synthetic Precipitation Leaching Procedure |  |  | Particulate Capture |  | Facility Y
| Brick and Block | brick and building block |  | EPA TCLP | EPA Method 1311 Toxicity Characteristic Leaching Procedure |  |  | Name | Description | Facility Z
| Construction & Demolition Debris |  |  | ASTM D3987 | Standard Test Method for Shake Extraction of Solid Waste with Water |  |  | Hot-side ESP |  | Pleasant Prairie
| Paving Blocks | concrete pavers |  | ASTM D4793 | Standard Test Method for Sequential Batch Extraction of Waste with Water |  |  | Cold-side ESP |  | Salem Harbor
| Recycled Concrete Aggregate |  |  | ASTM D5284 | Standard Test Method for Sequential Batch Extraction of Waste with Acidic Extraction Fluid |  |  | Fabric Filter |  | St. Clair
| Roofing Materials | shingles, tiles, etc. |  | ASTM D6234 | Stanadrd Test Method for Shake Extraction of Mining Waste by SPLP |  |  | Hot-side ESP w/COHPAC |  | Other
| Treated wood | pressure-treated wood |  | EN 12457-2 | Part II of CEN Compliance Test for Granular Waste Materials and Sludge |  |  | Other
| Wood | non-treated wood |  | EN 12457-3 | Part III of CEN Compliance Test for Granular Waste Materials
| Other | other building material |  | EN 14870 | DTPA Extraction (ISO TC 190)
|  |  |  | EPA EP-Tox | EPA Method 1310 Extraction Procedure Toxicity Test
| Fuel |  |  | EPA MEP | EPA Multiple Extraction Procedure
| Biomass (fuel) | biomass used as fuel |  | NEN 7341 | Dutch Standard Availability Test for Granular Materials
| Coal | coal used as fuel |  | USGS SLM | USGS Sequential Leaching Method
| Peat | peat used as fuel |  | Other | other batch extraction test
| Wood (fuel) | wood used as fuel
| Other | other fuel material |  | Extraction Composition for Generic Batch Test (Extract_Comp)
|  |  |  | Name | Description
| Industrial_Waste |  |  | <unspecified>
| Blast Furnace Slag |  |  | DI water | Reagent water (e.g., ASTM Type I)
| Cement Kiln Dust |  |  | CaCl2 (1 mM) | Dilution solution of calcium choride
| Foundry Sand |  |  | acetic acid
| Electric Arc Furnace Dust |  |  | ASLP tetraborate (pH=9.2)
| Industrial Sludge |  |  | CaCl2
| Metal Processing Slag | Pb/Zn slag, Waelz slag |  | demineralized water
| Phosphorus Slag |  |  | DTPA
| Sand Blasting Waste |  |  | EDTA
| Stabilized Waste |  |  | groundwater
| Steel Slag |  |  | local water
| Wastewater Treatment Sludge |  |  | seawater
| Other | other industrial wastes |  | SPLP #1 H2SO4/HNO3 (pH=4.2)
SPLP #2 H2SO4/HNO3 (pH=5.0)
| Landfill |  |  | SPLP #3 DI water
| APC Residues | air pollution control residue |  | surface water
| Bioreactor Residues | bioreactor |  | TCLP #1 Ac/NaOH (pH=4.93)
| Hazardous Waste | hazardous waste |  | TCLP #2 Acetic (pH=2.88)
| Non-hazardous Waste | nonhazardous material |  | other
| Municipal Solid Waste | landfilled material
| Predominantly Inorganic Waste | predominantly inorganic waste
| Stabilized Waste | stabilized waste |  | TOTAL CONTENT LISTS
| Other | other landfill material |  | Total Content Extraction/Analysis Methods (Total_Method)
|  |  |  | Name | Description
| Mining |  |  | <unspecified>
| Gypsum | mined gypsum |  | USEPA 3050B | SW-846 acid digestion of sediments, sludges, & soils
| Mine Tailings |  |  | USEPA 3051A | SW-846 microwave-assisted acid digestion of sediments, sludges, & soils
| Other | other mining material |  | USEPA 3052B | SW-846 microwave-assisted digestion of siliceous and organically based matrices
|  |  |  | XRFS | x-ray fluorescence spectrometry
| Mineral_Processing |  |  | aqua regia | 37% HCL + 65% HNO3
| Phosphogypsum | residue from fertilizer production |  | H2SO4
| Red Mud | residue from bauxite refining |  | HF acid mix | Hydrofluoric Acid
| Other | other mineral processing material |  | HF + aqua regia
|  |  |  | HNO3 | Nitric Acid Digestion
| Municipal_Waste |  |  | IHSS procedure | for Humic & Fulvic Acids
| APC residue (MSWI) | MSWI air pollution control residue |  | inert carbon
| Bottom Ash (MSWI) | MSWI bottom ash |  | LiBO3 melt
| Fly Ash (MSWI) | MSWI fly ash |  | neutron activation analysis | Neutron Activation Analysis
| Municipal Solid Waste | as produced |  | NEN 7348 redox capacity
| Sewage Sludge | raw sewage sludge |  | S1 aqua regia | LiBO4 melt and aqua regia
| Other | other MSW material |  | XRD | x-ray diffraction
|  |  |  | other | Other total analysis method
Nuclear Waste Management
| LAW Stabilized Waste | Cast Stone, Saltstone, etc.
| Vault Concrete | concretes used to contain wastes |  | ALL METHODS LISTS
| Tank Closure Grout | grouts used to cap waste tanks |  | Analytical Methods for all Tests (Analytical_Method)
| Other | other material |  | Name | Description
<unspecified>
| Soil_Sediment |  |  | EPA 6010C (ICP-AES) | USEPA SW-846 Method 6010C – ICP-AES/ICP-OES
| Amended Soil | soil with amendment |  | EPA 6020A (ICP-MS) | USEPA SW-846 Method 6020A – ICP-MS
| Sediment (clean) | nominally clean sediment |  | EPA 6200 (XRF) | USEPA SW-846 Method 6200 – field portable x-ray fluorescence
| Sediment (contaminated) |  |  | EPA 7470A (Hg CVAA) | USEPA SW-846 Method 7470A – Hg by cold vapor atomic spectrometry
| Soil (clean) | nominally clean soil |  | EPA 7473 (Hg TD) | USEPA SW-846 Method 7473 – Hg by thermal decomposition
| Soil (contaminated) |  |  | EPA 7474 (Hg AFS) | USEPA SW-846 Method 7474 – Hg by atomic fluorescence spectrometry
| Stabilized Soil | cement stabilized soil |  | AAS | flame atomic absorption spectrometry
| Other | other soil and sediment material |  | AAS-GF | graphite furnace atomic absorption spectrometry
|  |  |  | AAS-HG | atomic absorption spectrometry – hydride generation
| Soil_Amendment |  |  | Colorimetry
| Biomass |  |  | CVAAS | cold vapor atomic absorption spectrometry
| Compost |  |  | FIA | flow injection analysis
| Inorganic Amendment | CCR gypsum, red mud additives |  | g Spec | gamma spectrometry
| Treated Sewage Sludge |  |  | GC | gas chromatography
| Other | other soil amendment |  | GC-FID | gas chromatography – flame ionization detection
|  |  |  | GC-MS | gas chromatography – mass spectrometry
| User_Class |  |  | HG-ICP-MS | ICP-MS with hydride generation
| Subclass A | additional subclass for User Class (replace "Subclass A" text) |  | HPLC | high performance liquid chromatography
| Subclass B | additional subclass for User Class (replace "Subclass B" text) |  | IC | ion chromatography
| Subclass C | additional subclass for User Class (replace "Subclass C" text) |  | IC-ICP-MS | ion chromatography – ICP-MS
| Subclass D | additional subclass for User Class (replace "Subclass D" text) |  | ICP-AES/ICP-OES | inductively coupled plasma – emissions spectrometry
| Other |  |  | ICP-MS | inductively coupled plasma – mass spectrometry
|  |  |  | ICP-USN | inductively coupled plasma – ultrasonic nebulization
|  |  |  | ISE | ion selective electrode
| TYPE OF REPORTING LIMIT |  |  | Potentiometry
| Name | Description |  | Titrimetry
| <unspecified> |  |  | TC | total carbon analysis
| LLOQ | Lower Limit of Quantitation |  | TOC | total organic carbon analysis
| ML | Method Limit |  | Total CN | total cyanide analysis
| PQL | Practical Quantitation Limit |  | UV Spec | ultra-violet spectrometry
|  |  |  | XRFS | X-ray fluorescence spectrometry
|  |  |  | other | other analysis method