EACH GROUP							Reagents

5 – Sealed 1 ml Microtips Smasher (or pestles)			1x PBS Buffer

5-Toothpicks							InstaGene Matrix

10 – Group colored 1.5 ml eppendorf tubes				Primers (prepare before lab if possible)

1-Sheet of Paper Towel

2- Clear 1.5 ml eppendorf tube 					Equipment

(tube 1 =500 μl PBS Buffer; tube 2 = 1,000 μl InstaGene)		p20s and p200s (tips)

Loading Dye – optional						microcentrifuge & vortex

1-Strip of 6 PCR Ready Beads (don’t break if linked)			thermal cycler, water bath, & E-gels

| Time | Label one clear tube PBS and the other clear tube IG (InstaGene) __________Aliquot 500 μl PBS Buffer to correctly labeled tube __________Aliquot 1,000 μl InstaGene Matrix to correctly labeled tube (VORTEX before you ALIQUOT – IG settles out quickly!) |
| --- | --- |
|  | Place 100 µl 1x PBS in 1.5 ml microtubes. Label tubes for each insect:, Ant (A), Flea (F), Mosquito (M), Nas- (N-), Nas+ (N+) (Color code for each group.) |
|  | Set water bath or dry bath to 99oC. |
|  | If insects have been stored in alcohol, label a paper towel for each insect so they may air dry in designated location. Use toothpicks to obtain insect from tube if necessary (use separate toothpick for each insect). |
|  | Transfer insects to correctly labeled microtubes. Obtain Sealed microtip smashers and crush insect abdomen. If insect is large enough, white hemolymph may be visible. |
|  | Aliquot InstaGene Matrix to grps: 200 µl / specimen. VORTEX matrix before immediate use. |
|  | Using sealed microtip, crush abdomen and release white hemolymph. Vortex InstaGene for 10 seconds then add 200 µl of vortexed Instagene to insect tube. Repeat this with each insect sample. |
|  | Vortex samples for 30 seconds before placing in bath. |
|  | Place samples in bath @ 99oC for 10 minutes. |
|  | Spin at 14,000 rpm for 10 minutes. |
| *Obtain primers & controls from Michele Bahr @ Woods Hole mbahr@mbl.edu | ALWAYS VORTEX before prep. Prepare Primer Mix (each insect x # of samples= total): Total # samples 14 μl dH2O x ________ = ________ μl dH2O 2 μl Wspec-Forward x _________ = ________ μl W-F 2 μl Wspec-Reverse x _________ = ________ μl W-R 2 μl COI-Forward x _________ = ________ μl CO1-F 2 μl COI-Reverse x _________ = ________ μl CO1-R |
|  | Distribute new 1.5 ml tubes of appropriate color to each group and label as in first step. Withdraw 50 µl of supernatant, avoiding pellet, for purified DNA (Supernatant contains genomic DNA from insect & if present, Wolbachia.). Pellet contains matrix which will inhibit PCR reaction. AVOID PELLET! |
|  | Obtain PCR Ready tubes strip & write your group number on side of tube. |
|  | Load reagents in tube with HINGE pointed AWAY from you. *Which substance could be added first to save microtips? ____________ Each tube should have a total volume of 25 μl: 22 μl of Primer Master Mix 3 μl of specimen DNA template |
|  | Cap and gently tap the bottom of each tube to mix the components. If microfuge is available… pulse spin. |
|  | Load Thermal Cycler, view program and start. *1 cycle: 1 min @ 94oC 38 Cycles: 1 min @ 94oC, 1.5 min @ 45oC, 1 min @ 72oC 1 cycle: 5 min @ 72oC *Store @ 4oC |
|  | Using 2% SYBR Safe E-Gel (Exp. Date: _______________), Load 20 μl per well; DOCUMENT sample loaded in chart below Run for 20 minutes. Use a bp ladder if possible, if not, add loading dye to a Nas + samples |
|  | View using UV Illuminator. Wol band: 16S rRNA = 438 bp CO1 band: cytochrome oxidase gene for arthropod mitochondria = 658 bp |

Results		Gel # ____________				Run Time:_____________ min.

| Lane | Sample (Grp # & Insecct | Results |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |
| 6 |  |  |
| 7 |  |  |
| 8 |  |  |
| 9 |  |  |
| 10 |  |  |
| 11 |  |  |
| 12 |  |  |