## Laser Inspection Form
Vanderbilt University Laser Inspection Checklist
Name of PI:
Date of Inspection:
Lab Location(s): No.
|  | Findings | Y | N | NA | Comments
Engineering Safety Controls:
1 | Laser secured to table |  | Y | N | NA
2 | Laser optics secured to prevent stray beams |  | Y | N | NA
3 | Laser beam path not at eye level |  | Y | N | NA
4 | Open beam |  | Y | N | NA
5 | Enclosed beam |  | Y | N | NA
6 | Beam Stops/Barriers/Attenuator in place |  | Y | N | NA
7 | Protective housing with interlock present |  | Y | N | NA
8 | Emergency stop/key or Master switch present |  | Y | N | NA
9 | Activation warning system present (light/sound) |  | Y | N | NA
10 | Beam viewing optics hazard present |  | Y | N | NA
11 | Windows in room covered |  | Y | N | NA
12 | Fiber optics present |  | Y | N | NA
12a | If yes, Numerical Aperture
Administrative safety controls:
14 | All users have appropriate laser training |  | Y | N | NA
15 | SOP up-to-date and signed by users |  | Y | N | NA
16 | SOP Posted or available in same room |  | Y | N | NA
17 | Laser Controlled Area (LAC) posted |  | Y | N | NA
18 | Warning labels on the machine are present |  | Y | N | NA
19 | Door signs posted |  | Y | N | NA
20 | Beam Alignment Procedure available |  | Y | N | NA
21 | Beam not directed towards window or entry points |  | Y | N | NA
22 | Laser safety guidelines posted |  | Y | N | NA
23 | Laser safety manual available |  | Y | N | NA
24 | Emergency contact list posted |  | Y | N | NA
25 | Fiber optics connector tag present |  | Y | N | NA
26 | Proper laser eye protection available |  | Y | N | NA
27 | Laser safety eyewear available in good condition |  | Y | N | NA
28 | Protection against UV laser available |  | Y | N | NA
29 | Laser protective barriers or curtains present |  | Y | N | NA
Non Beam Hazards
30 | Electrical hazard |  | Y | N | NA
33 | Collateral radiation hazard |  | Y | N | NA
34 | Fire and/or explosion |  | Y | N | NA
35 | Compressed gases in use |  | Y | N | NA
36 | Chemical hazards - Toxic laser media, dye and solvents |  | Y | N | NA
37 | Laser Generated Contaminants production |  | Y | N | NA
38 | Cryogens in use |  | Y | N | NA
39 | Biological Hazard |  | Y | N | NA
Documentation
All Class 3B and Class 4 lasers registered with VU EHS |  |  | Y | N | NA
All SOP’s are submitted to VU EHS |  |  | Y | N | NA
Lab specific training documented |  |  | Y | N | NA
All documents required for audit are present |  |  | Y | N | NA
Others (specify): |  |  | Y | N | NA
Inspection performed by:
Date of Inspection: